AMENDED RATES, RULES AND REGULATIONS

OF THE

LIVERPOOL MUNICIPAL AUTHORITY

The following rates, rules and regulations shall be and hereby are declared to be the rates, rules and regulations of the LIVERPOOL MUNICIPAL AUTHORITY, effective May 12, 2022 as amended and restated in full, by resolution duly adopted by the Board of said authority, to wit

PART 1 - SANITARY SEWER SYSTEM

SECTION I - DEFINITIONS

The meaning of terms and phrases used in this ordinance containing the Rates, Rules and Regulations for the Liverpool Municipal Authority shall be as follows, unless the context specifically and clearly indicates otherwise:

1.01 -- AUTHORITY means the Liverpool Municipal Authority, a Pennsylvania Municipal Authority.

1.02 -- APPLICANT shall mean the owner of the property to be connected to the sewer system.

1.03 -- BUILDING SEWER shall mean the extension from the building drain to the pubic sewer.

1.04 -- EASEMENT shall mean an acquired legal right for the specific use of land owned by others.

1.05 -- PERSON shall mean any individual, firm, partnership, corporation, company, association, society or group.

1.06 -- PUBLIC SEWER shall mean a common sewer controlled by the Authority.

1.07 -- SEWER SYSTEM shall mean the main sewers and appurtenances that are constructed by and/or under the control of the Authority.

1.08 -- SERVICE CONNECTION means that part of the sewer system from the main or manhole to the curb line or property line when there is no curb line.

1.09 – PROPERTY SERVICE means that part of the sewer system from the curb stop or box, to the structure for which the service is provided.  The property service shall be installed and maintained by the property owner.

1.10 -- SEWER CUSTOMER as used hereinafter, means the owner, contracting for service to a property as hereinafter classified. The owner of a rental property will be responsible for payment of fees and rentals.

1.101 -- Each mobile home or trailer occupied by one family or

1.102-- A building under one roof and occupied by one family or commercial establishment.

1.103 -- A combination of buildings in one common enclosure, occupied by one family or commercial establishment.

1.104 -- One side of a double house occupied by one family or commercial establishment even though plumbing fixtures are used in common.

1.105 -- Each apartment unit or dwelling unit in a building having more than one dwelling unit, including condominium unit.

1.106 -- Each dwelling unit, apartment, office, commercial establishment in a building containing more than one such unit.

1.11 -- COMMERCIAL ESTABLISHMENT means a structure or a portion thereof intended to be used wholly or in part for the purpose of carrying on a trade, industry, business or profession or for social amusement, religious, educational, charitable or public use.

1.12-- SEWER RENTAL means that quarterly charge for direct or indirect use of the sewer system of the Authority.

1.13 -- ENGINEER means the Individual or engineering firm duly appointed by the Authority.

1.14 -- B. O. D. (Biochemical Oxygen Demand) means the quantity of oxygen, expressed in ppm by weight, utilized in the biochemical oxidation of organic matter under standard laboratory procedure for 5 days at 20o Centigrade. The standard laboratory procedure shall be that found in the latest edition of “Standard Methods for the Examination of Water and Sewage", published by the American Public Health Association.

1.15 -- Borough means the Borough of Liverpool, Perry County, Pennsylvania; a Pennsylvania municipal corporation, acting by and through its Council, or in appropriate cases, acting by and through its authorized representatives.

1.16 -- CUSTOMER means the property owner, utilizing sewer service furnished by the Authority to a property such as hereinafter classified.

1.17 -- GARBAGE means solid wastes resulting from preparation, cooking and dispensing of food and from handling, storage and sale of produce.

1.18 -- IMPROVED PROPERTY means any property upon which there is erected a structure or structures intended for continuous or periodic habitation, occupancy, or use by human beings or animals, and from which sewage and/or industrial waste shall be or may be discharged.

1.19 -- INDUSTRIAL WASTE means any solid, liquid or gaseous substance or form of energy ejected or escaping in the course of any industrial, manufacturing, trade or business process, or in the course of the development, recovery or processing of natural resources, as distinct from Sewage.

1.20 -- OWNER means any person vested with ownership, legal or equitable, sole or partial, of any improved Property.

1.21 -- pH means the logarithm of the reciprocal of the weight of hydrogen ions, expressed, in grams per liter of solution, indicating the degree of acidity or alkalinity of a substance.

1.22 -- PPM means part per million by weight.

1.23 -- SEWAGE means normal water-carried household and toilet wastes from any improved property.

1.24 -- FOOD PREPARATION FACILITIES shall mean any establishment with kitchen facilities intended for any profitable, social, amusement, religious, educational, charitable, or public purpose, including, but not limited to, restaurants, taverns, cafeterias, take-out stores, convenience stores, and social halls.

1.25 -- GREASE INTERCEPTOR shall mean an appliance designed and manufactured for the purpose of separating and retaining grease, fat, and oils from wastewater, and allowing for the convenient disposal of said wastes as a solid mass.

SECTION II - SEWER CONNECTION PERMIT

2.01-- No person(s) shall uncover, make any connections with or opening into, use, alter or disturb any public sewer or appurtenance thereof of the Liverpool Municipal Authority without first obtaining a written permit from the Authority (See Appendix A) and paying the required connection and tapping fee as established at that time by the Authority. Any unused permits will be considered null and void five (5) years from the date of issuance.

2.02 -- The owner of a property shall make application on a form furnished by the Authority and shall pay the required connection and tapping fee before a permit will be issued by the Authority. The fees have been established based upon a Capital Charges Study pursuant to Act 57 of 2003.  A residential dwelling unit will be assessed a tapping fee based upon one Equivalent Dwelling Unit (EDU) equivalent to 188 GPD.  A non-residential connection will be assessed a tapping fee based upon anticipated flow generated by the proposed facility as presented by the approved sewage planning module divided by 188 GPD to establish the number of EDU’s.  EDU calculations will be rounded to the next highest whole number.  The Authority will monitor water usage for four consecutive quarters following connection to the system and full occupancy by any non-residential connection.  This data will be used to determine if the initial estimation of water usage utilized to determine the basis for the Tapping Fee is accurate.  In the event that water usage is less than the amount estimated to establish the Tapping Fee, the customer will be issued a credit in the amount of the unused portion of the tapping fee upon the next regular billing cycle.  In the event that the water usage is greater than the estimated amount upon which the tapping fee was based, the remaining amount of the tapping fee will be invoiced on the next regular billing cycle.  In all cases the minimum charge will be one EDU.  All connections will be assessed a $100.00 inspection fee. ** Rates are under separate cover as a resolution.  The Authority reserves the right to adjust the fees as necessary.  Applicant for sewer service will be issued a Tapping Fee Receipt Letter and a copy of the Rates, Rules and Regulations of the Liverpool Municipal Authority.

2.03 –All costs and expenses incidental to the installation and connection of the building sewer shall be borne by the owner(s) who shall be responsible for installation and connection.  If the owner(s) shall refuse to install and connect the building sewer, the Authority shall have the right inter alia, to install and connect the building sewer and to impose a customer facilities fee for the cost of such Installation against the owner(s).  The owner(s) shall indemnify the Authority from any loss that may directly or indirectly be occasioned by the installation of the building sewer. All building sewers shall be maintained by and at the sole expense of the property owner(s)

2.04 -- A separate and independent building sewer shall be provided for every building whether constructed as a detached unit or as one of a pair or row, but a single building sewer will be permitted to serve a school, factory and apartment house or other permanent multiple unit structure whose individual units may not be subject to separate ownership or will be subject to separate ownership as a condominium unit. Where one building stands at the rear of another or on an interior lot that may in the future be subdivided and no separate building sewer can be provided to the rear building, the front building sewer may be extended to the rear building provided that an easement at least 10 feet in width, with plan attached showing the common buildings sewer line, is recorded in the Recorder of Deeds Office of Perry County, Pennsylvania, listing the property owner of the front parcel as grantor and the property owner of the rear parcel even though it is the same as the owner of the front parcel as grantee.

2.05 -- Only persons, firms or corporations who have demonstrated by past performance to the satisfaction of the Authority that they are qualified and capable of performing plumbing work in accordance with good plumbing practice may install building sewers that connect to the sewer main lines.

2.06 -- The size, slope, alignment, materials of construction and the methods to be used in excavating, placing the pipe, jointing and backfilling the trench shall all conform to the requirements of Section III of these Rates, Rules and Regulations.

2.07 -- Whenever possible, the building sewer shall be brought to the building at an elevation below the basement floor. In all buildings in which any building drain is too low to permit gravity flow to the public sewer, sanitary sewage carried by such building drain shall be lifted by an individual sewage grinder pump installed and maintained by the property owner or other approved means and discharged to the building sewer.

2.08 -- No person(s) shall make connections of roof down spouts, foundation drains, areaway drains, or other sources of surface runoff or groundwater to a building sewer or building drain that, in turn, is connected directly or indirectly to a public sanitary sewer. Any person, partnership or corporation who shall allow such connections shall be responsible for damages and the cost of repairs, together with legal costs.

2.09 -- All excavations for building sewer installation shall be adequately guarded with barricades and lights so as to protect the public from hazard. Streets, sidewalks, parkways and other public property disturbed in the course of the work shall be restored in a manner satisfactory to the Borough.

2.10 -- The applicant for the building sewer permit shall notify the Authority when the building sewer is ready for inspection and prior to backfill. If a portion of the building sewer is to be back-filled before completion for the convenience of the applicant and more than one inspection is required, the Authority or its agent making the inspections may collect from the applicant reasonable additional inspection charges. The applicant or plumber must be present for all inspections and shall have their copy of the permit available at that time.

2.11-- Employees and agents of the Authority, bearing proper credentials and identification shall be permitted to enter all properties for the purpose of inspection, observation, measurement, sampling and testing pertinent to discharge to the public system in accordance with the provisions of these Rates, Rules and Regulations.

2.12 -- Persons, firms or corporations intending to excavate for construction, repair or reconstruction of building sewers must comply with all requirements of Pennsylvania Act 172 of 1986 - Pennsylvania One Call Utility Line Protection Law. This Act requires notification at least 72 hours (3 days) in advance of digging. Telephone 1-800-242-1776.

SECTION III - USE OF THE PUBLIC SEWERS

3.01-- No person(s) shall discharge or cause to be discharged any unpolluted waters such as storm water, groundwater, roof runoff or subsurface drainage into the public sewers of the Authority.

3.02 -- No person(s) shall discharge or cause to be discharged any of the following described waters or wastes to any public sewer:

A. Any gasoline, benzene, naphtha, fuel oil, or other flammable or explosive liquid, solid, or gas.

B. Any waters containing toxic or poisonous solids, liquids or gases in sufficient quantity either singly or by interaction with other wastes, to injure or interfere with any waste treatment process, constitute a hazard to humans or animals, create a public nuisance, or create a hazard in the receiving waters of wastewater treatment plants.

C. Having a pH lower than 6.5 or higher than 9.0 or having any other corrosive property capable of causing damage or hazard to structures, equipment or personnel of the wastewater treatment plant.

D. Solid or viscous substances in quantities or of such size capable of causing obstruction to the flow in sewers or other interference with the proper operation of the wastewater facilities such as but not limited to, ashes, bones, cinders, sand, mud, straw, shavings, metals, glass, rags, feathers, tar, plastics, wood, unground garbage, whole blood, paunch manure, hair and fleshings, entrails, paper cups and dishes, milk containers, etc., either whole or ground by garbage grinders.

E. Having a temperature higher than 150 degrees Fahrenheit.

F. Containing iron, chromium, copper, zinc, cyanide or similar objectionable or toxic substances.

G. Wastewater containing more than 25 milligrams per Liter of petroleum oil, non-biodegradable cutting oils, or product of mineral oil origin.

H. Wastewater from industrial plants containing floatable oils, fat or grease.

I. Quantities of flow that exceed for any period of duration longer than fifteen minutes more than five times the average 24-hour concentration, or flows that would adversely affect the sewer system and/or performance of the wastewater treatment facilities.

J. Any flow that shall constitute an industrial waste, hazardous waste, or toxic waste discharge as defined by EPA or DEP.

3.03 -- If any waters or wastes are discharged or proposed to be discharged to the public sewers, which waters contain the substance or possess the characteristics enumerated in paragraph 3.02. or which, in the opinion of the Authority Representative, may have a deleterious effect upon the sewers or wastewater treatment facilities or receiving waters or which otherwise create a hazard to life or constitute a public nuisance, or constitute an industrial waste, hazardous waste, or toxic waste discharge as defined by EPA or DEP, the Authority may:

A. Reject the wastes;

B. Require pretreatment to an acceptable condition;

C. Require control over quantities and rates of discharge; and/or,

D. Require payment to cover added cost of handling and treating the wastes not covered by existing sewer charges.

If the Authority permits the pretreatment or equalization of waste flow alternatives, the design of the facilities shall be subject to the review and approval of the Authority Staff and/or Engineer.

3.04 -- Any new food preparation facility which will operate five (5) or more days per week, as established by the Authority, shall install a grease interceptor of minimum size and material as set forth by the Standard Specification for Grease Interceptors of the Authority.  All renovated or expanded existing food preparation facilities, which will operate five (5) or more days per week constructed after the adoption of this regulation, shall install a grease interceptor in accordance with the Standard Specifications of the Authority.  The owner is further required to maintain a log of maintenance of the grease interceptor, including dates and methods of disposal of accumulated wastes. As a minimum standard, all facilities shall dispose of accumulated wastes on a quarterly basis unless otherwise approved by the Authority.  The Authority shall reserve the right to inspect and review the installation, operation, and maintenance records of all food preparation facilities.

3.05 -- The Authority may require a user of sewer service to provide information needed to determine compliance with these Rates, Rules, and Regulations including, but not limited to wastewater rates of flow, chemical analyses, raw materials processes and products affecting wastewater and quantities and disposition of specific liquids and materials important to sewer use control.

SECTION IV - EXTENSIONS BY DEVELOPER

4.01-- The Authority shall have no liability to furnish complete sewer service at Authority expense to any contemplated new housing development, nor to any isolated property or properties outside the existing service area.

4.02 -- In those cases where a developer or individual desires sanitary sewer service to be furnished to their property, the property owner may elect to furnish such service at their own expense.

4.03 -- A completed application, including plans, details, specifications of proposed construction and appropriate filing fee made payable to the Authority, must then be submitted.

4.04 -- The Authority’s Engineer will review the submission, identify any comments, deficiencies, or concerns and submit them to the Authority for consideration.  If necessary, the Authority will return the submission to the developer for revision.  Revised submissions should be returned to the Authority with annotations clearly identified and dated.

4.05 -- Upon approval by the Authority, the developer must enter into an extension agreement with the Authority providing for:

4.051 -- Review of plans and specifications by Authority Engineer.

4.052 -- Approval by State and local agencies.

4.053 -- Installation in compliance with Authority’s specifications and inspection during construction by Authority.

4.054 -- Escrow deposit by developer to cover costs of (4.051), (4.052) and (4.053) above, plus legal fees and cost of construction if construction is by contractor engaged by Authority; or ten percent (10%) of estimated construction costs if constructed by developer’s contractor or own forces subject to approval by the Authority.

4.055 -- Refund to developer of any unexpended monies after acceptance of extensions or, additional escrow deposit to cover any actual costs incurred over and above initial deposit.

4.056 -- Transfer of title of public sewer extensions to Authority for operation and maintenance.

4.057 -- Other provisions as may be appropriate to protect the Authority’s interests and as set forth in the “Developer’s Handbook”.

SECTION V - ACCESS TO PREMISES

5.01 -- The Authority by its duly authorized agents shall have the right of access at all reasonable hours to all parts of any premises connected with the sewer system for the purpose of examining and inspecting the connections and fixtures, or for disconnecting service or for any proper cause.

SECTION VI - SPECIAL CONDITIONS

6.01 -- Any person who desires an exception to be made, an interpretation to be given, or action to be permitted not specifically governed by these Rules and Regulations shall present their case in writing to the Authority. In such an event, the decision of the Authority must be considered final.

SECTION VII - CHANGING RULES AND VARIANCES

7.01 -- The Authority reserves the right to change or amend these Rules and Regulations in accordance with law. No officer, or employee of the Authority can vary these Rules and Regulations without action of the Authority Board, and the Authority may not be bound by an agent or employee’s act or representation excepting when authorization in writing has been given to do so by an executive officer of the Authority Board.

SECTION VIII - MATERIALS AND METHODS OF INSTALLATION

8.01—See instructions in the “Materials and Methods of Installation” handbook.

SECTION X - VIOLATIONS OF USE (REQUIREMENTS)

9.01-- No person(s) shall maliciously, willfully or negligently break damage, destroy, uncover, deface or tamper with any pipeline, structure, appurtenance or equipment of the Authority. Any person(s) violating this provision shall be subject to immediate arrest under charge of disorderly conduct.

9.02 -- The Authority shall have the right to close up or disconnect from the sewer system any building sewer used for carrying rain water, surface water, groundwater or objectionable matter or whenever any violations of these Rates, Rules and Regulations are committed.

9.03 -- The Authority reserves the right to restrict the use of sewer service whenever the public welfare may require it.

SECTION X - RATES AND CHARGES

10.01-- Sewer rentals and charges are indicated on the attached schedule, and may be changed as determined by the Authority.

10.01(A)—Sewer system usage for connections made during a billing quarter will be combined with the next billing quarter usage.

10.02 -- Other sewer charges. A sewer connection fee and tapping fee are hereby established, payable at the time of application for permission to connect with the sanitary sewerage system. This connection fee and tapping fee are the same fees referred to in Section 2.02 of these Rules.

10.03 -- Bills for the sewer rentals shall be mailed by the LIVERPOOL MUNICIPAL AUTHORITY to the property owners at least thirty (30) days before the beginning of the penalty period. Said sewer rentals are payable at par, each January 15, April 15, July 15, and October 15 of each year and are subject to a 5% penalty if not paid on or before February 15, May 15, August 15 and November 15 of each quarter. These rates are for three months, the payment due February 15 for the three months ending December 31, the payment due May 15 being for the three months ending March 31, the payment due August 15 being for the three months ending June 30, and the payment due November 15 being for the three months ending September 30.  If not paid by the quarterly billings of January 15, April 15, July 15, and October 15 a new penalty of 5% of the unpaid balance shall be added each January 16, April 16, July 16 and October 16 that the bill remains unpaid until paid in full. A $25.00 service charge will be added for each second and subsequent late payment.  The sewer rentals herein provided shall be collected and enforced in a manner provided by law for the assessment and collection of charges and the enforcement of municipal liens under the laws of the Commonwealth of Pennsylvania in such cases made and provided.

10.03(a)—A non-negotiable personal check received as payment for sewer or water charges, shall be returned to the customer with instructions to redeem the check within ten days.  Shut-off procedure shall be started simultaneous with sending the above notification

10.04 -- If any person, partnership or corporation shall connect a drain or pipe with any LIVERPOOL MUNICIPAL AUTHORITY sewer without having first received a permit and paid the tapping fee and connection charge, if any, or if any owner or occupier of premises in said district who has obtained a permit and made connection with the LIVERPOOL MUNICIPAL AUTHORITY sewer shall permit any person, partnership or corporation to make an attachment to or connect with his, her or its drain or sewer leading into the LIVERPOOL MUNICIPAL AUTHORITY sewer so as to drain any other property than for which a permit was granted; such person, partnership or corporation shall pay the amount of the sewer rental due from the date the sanitary public sewer became available for connection at the rate set forth in 2.02 and shall be liable to pay in addition thereto the tapping fee as set forth In 2.02, and a penalty charge of $500.00 for failure to abide by these Rates, Rules and Regulations.

PART 2 - WATER SYSTEM

SECTION I - DEFINITIONS

The meaning of terms and phrases used in this resolution containing the Rates, Rules and Regulations for the Liverpool Municipal Authority shall be as follows, unless the context specifically and clearly indicates otherwise:

1.01 -- AUTHORITY means the Liverpool Municipal Authority, a Pennsylvania Municipal Authority.

1.02 -- BOROUGH means the Borough of Liverpool, Perry County, Pennsylvania; a Pennsylvania municipal corporation, acting by and through its Council, or in appropriate cases, acting by and through its authorized representatives.

1.03 -- APPLICANT shall mean the owner of the property to be connected to the water system.

1.04 -- CROSS CONNECTION shall mean an illegal connection between the pipes carrying water from any other source and a pipe carrying water furnished by the Authority.

1.05 -- EASEMENT shall mean an acquired legal right for the specific use of land owned by others.

1.06 -- IMPROVED PROPERTY shall mean any property upon which there is erected a structure intended for continuous or periodic habitation, occupancy or use by human beings or animals and to which structures water shall be supplied.

1.07 -- PERSON shall mean any individual, firm, partnership, corporation, company, association, society or group.

1.08 -- OWNER shall mean any person vested with ownership, legal or equitable, sole or partial, of any improved property.

1.09 -- WATER SYSTEM shall mean the facilities for production, transmission, storage and distribution of water that are constructed by and/or owned by the Authority.

1.10 -- SERVICE CONNECTION means that part of the water system from the main to the curb stop or box, which will be located at the curb line or property line when there is no curb line.

1.11 -- PROPERTY SERVICE means that part of the water system from the curb stop or box, to the structure for which the service is provided.  The property service shall be installed and maintained by the property owner.

1.12 -- WATER CUSTOMER as used hereinafter, means the person contracting for service to a property as hereinafter classified.  The owner of a rental property will be responsible for payment of fees and rentals.

1.121 -- Each mobile home or trailer occupied by one family or

1.122 -- A building under one roof and occupied by one family or commercial establishment.

1.123 -- A combination of buildings in one common enclosure, occupied by one family or commercial establishment.

1.124 -- One side of a double house occupied by one family or commercial establishment even though plumbing fixtures are used in common.

1.125 -- Each apartment unit or dwelling unit in a building having more than one dwelling unit, including condominium unit.

1.126 -- Each dwelling unit, apartment, office, commercial establishment in a building containing more than one such unit.

1.13 -- COMMERCIAL ESTABLISHMENT means a structure or a portion thereof intended to be used wholly or in part for the purpose of carrying on a trade, industry, business or profession or for social amusement, religious, educational, charitable or public use.

1.14 -- WATER RENTAL means that quarterly charge for direct or indirect use of the water system of the Authority.

1.15 -- ENGINEER means the individual or engineering firm duly appointed by the Authority.

SECTION II - WATER CONNECTION PERMIT

2.01-- No person shall uncover, make any connections with or opening into, use, alter or disturb any public water main or appurtenance thereof of the Liverpool Municipal Authority without first obtaining a written permit from the Authority and paying the connection and tapping fee as established at that time by the Authority. Any unused permits will be considered null and void five (5) years from the date of issuance.

2.02 -- The owner of a property shall make application on a form furnished by the Authority and shall pay a required connection and tapping fee before the permit will be issued by the Authority. The fees have been established based upon a Capital Charges Study pursuant to Act 57 of 2003.  A residential dwelling unit will be assessed a tapping fee based upon one Equivalent Dwelling Unit (EDU) equal to 136 GPD.  A non-residential connection will be assessed a tapping fee based upon anticipated water consumed by the proposed facility as presented by the approved sewage planning module divided by 136 GPD to establish the number of EDU’s.  EDU calculations will be rounded to the next highest whole number.  The Authority will monitor water usage for four consecutive quarters following connection to the system and full occupancy by and non-residential connection.  This data will be used to determine if the initial estimation of water usage utilized to determine the basis for the Tapping Fee is accurate.  In the event that water usage is less than the amount estimated to establish the Tapping Fee, the customer will be issued a credit in the amount of the unused portion of the tapping fee on the next regular billing cycle.  In the event that the water usage is greater than the estimated amount upon which the tapping fee was based, the remaining amount of the tapping fee will be invoiced on the next regular billing cycle.  In all cases the minimum charge will be one EDU.  All connections will be assessed a $100.00 inspection fee. . ** Rates are under separate cover as a resolution.  The Authority reserves the right to adjust the fees as necessary.  Applicant for water service will be issued a Tapping Fee Receipt Letter and a copy of the Rates, Rules and Regulations of the Liverpool Municipal Authority.

2.03 -- All costs and expenses incidental to the installation and connection of the building water shall be borne by the owner(s) who shall be responsible for installation and connection. If the owner(s) shall refuse to install and connect the property service, the Authority shall have the right inter alia, to install and connect the service and to impose a customer facilities fee for the cost of such installation against the owner(s). The owner(s) shall indemnify the Authority from any loss that may directly or indirectly be occasioned by the installation of the property service.

2.04 -- A separate and independent property service shall be provided for every building whether constructed as a detached unit or as one of a pair or row, but a single property service will be permitted to serve a school, factory, apartment house or other permanent multiple unit structure whose individual units may not be subject to separate ownership or will be subject to separate ownership as a condominium unit. Where one building stands at the rear of another or an interior lot that may in the future be subdivided and no separate property service can be provided to the rear building, the front property service may be extended to the rear building provided that an easement at least 10 feet in width, with plan attached showing the common buildings water line, is recorded in the Recorder of Deeds Office of Perry County, Pennsylvania, listing the property owner of the front parcel as grantor and the property owner of the rear parcel even though it is the same as the owner of the front parcel as grantee.

2.05 – The Authority must be notified upon any change in ownership of property.

2.06 -- Only persons, firms or corporations who have demonstrated by past performance to the satisfaction of the Authority that they are qualified and capable of performing plumbing work in accordance with good plumbing practice may install property services that connect to the water main lines.

2.07 -- The size, alignment, materials of construction and the methods to be used in excavating, placing the pipe, jointing and backfilling the trench shall all conform to the requirements of Section III of these Rates, Rules and Regulations.

2.08 -- All excavations for service installation shall be adequately guarded with barricades and lights so as to protect the public from hazard. Streets, sidewalks, parkways and other public property disturbed in the course of the work shall be restored in a manner satisfactory to the Borough.

2.09 -- The applicant for the water service permit shall notify the Authority when the connection is ready for inspection and prior to backfill. If a portion of the trench is to be back-filled before completion for the convenience of the applicant and more than one inspection is required, the Authority or its agent making the inspections may collect from the applicant reasonable additional inspection charges. The applicant or plumber must be present for all inspections and shall have their copy of the permit available at that time.

2.10 -- Employees and agents of the Authority, bearing proper credentials and identification shall be permitted to enter all properties for the purpose of inspection, observation, metering, sampling and testing pertinent to supply of public water service in accordance with the provisions of these Rates, Rules and Regulations.

2.11 -- Persons, firms or corporations intending to excavate for construction, repair or reconstruction of building waters must comply with all requirements of Pennsylvania Act 172 of 1986 - Pennsylvania One Call Utility Line Protection Law. This Act requires notification at least 72 hours (3 days) in advance of digging. Telephone 1-800-242- 1776.

SECTION III - USE OF THE PUBLIC WATER SUPPLY

3.01-- All connections, service lines and fixtures furnished by the customer shall be maintained by them in good order, and all valves and appliances furnished and owned by the Authority and on the property of the customer shall be properly protected, and cared for by said customer.  All leaks in the service line or in any pipe or fixture in or upon the premises supplied must be repaired immediately by the owner or occupant of the premises.

3.011 -- A separate meter will be required for every property classification indicated in these Rules and Regulations.  In certain special cases. the Authority may make an exception to this section, if separate meters cannot conveniently be placed in units where common plumbing fixture exist.  Such an exception will not, however, relieve the separate families or businesses from each being classified as a different customer account.

3.012 – (a) All residential meters shall be furnished by the Authority, and shall remain the property of the Authority.  The meter will be installed at the expense of the property owner by a contractor or plumber satisfactory to the Authority.   The Authority shall be granted access to the meters at all reasonable times and all meters shall be subject to its control.

3.012—(b) All commercial meters shall be furnished by the Authority, at the expense of the property owner, and shall remain the property of the Authority.  The meter will be installed at the expense of the property owner by a contractor or plumber satisfactory to the Authority.  The Authority shall be granted access to the meters at all reasonable times and all meters shall be subject to its control.

3.013 -- The meter shall be set after the customer has had the plumbing installed to receive the meter at a convenient location approved by the Authority so as to control the entire supply.  The customer will provide a proper place for the meter so that it is suitably protected at all times.

3.014 -- A gate valve shall be installed on the service line directly in front of the meter and a gate valve on the outlet side of the meter.  The gate valve to be furnished and installed at the expense of the property owner.  A suitable check valve or backflow preventer shall be provided by the Authority, at the expense of the property owner, and shall remain the property of the Authority.  The valves shall be installed at the expense of the property owner, by a contractor or plumber satisfactory to the Authority, and placed between the stop and waste-cock or gate valve and the meter.

3.015 -- The charge for the changing of a meter when removed because of damage in any way due to the negligence of the customer shall be $125.00 and a service charge of $25.00.

3.016 -- The quantity recorded  by  the meter  shall be conclusive on both the customer and the Authority, except when the meter has been found to be  registering  inaccurately  or  has  ceased  to register.  In such case, the quantity may be determined by the average registration of the meter when in order. The customer shall immediately notify the Authority of injury to or the non-working of the meter, as soon as it comes to their knowledge.  In case of a disputed account involving the accuracy of the meter, such meter will be tested upon written request of the customer.   In the event that the meter tested is found to have an error in registration of 4 % or more, the bills will be increased or decreased accordingly, as provided by the aforesaid rules.  If upon testing, the meter shall be found to be within the limit of a 4 % error in registration, the customer will be billed for the cost of testing the meter and a service charge of $25.00.

3.02 -- As necessity may arise in case of a breakdown, emergency, or for any other unavoidable cause, the Authority shall have the right to cut off the water  supply  temporarily,  in  order  to  make  necessary repairs, connections, etc. ; but the Authority shall use  all reasonable  and practical measures to notify the customer of such discontinuance of service.  In such case the Authority will  not  be  liable  for  any  damage  or  inconvenience suffered;  or any claim against it at  any time for interruption in service, lessening of the supply, inadequate pressure, poor quality of water, or for any causes beyond its control.

3.03 -- The Authority shall have  the  right to reserve a sufficient supply of water at all times in its storage facilities to provide for fire and other emergencies, or it may restrict or regulate the quantity of water used by any customer in case of scarcity, or whenever the public welfare may require it.

3.04 -- Service may be discontinued by the Authority for any of the following reasons:

3.041 -- For the use of water for any other property or purpose than that described in the application.

3.042 --For willful waste of water through improper or imperfect pipes, fixtures or otherwise.

3.043 --For damaging any service pipe, curb stop, valve, meter or any other appliance of the Authority.

3.044 -- In case of vacancy of premises.

3.045 -- For neglecting to make or renew deposits or for non-payment of any charge accruing under the application.

3.046 --For refusal of reasonable access to property for the purpose of inspecting.

3.047 -- For making, or refusing to sever, any cross connection between a pipe or fixture carrying water furnished by the Authority, and a pipe or fixture carrying water from any other source.

3.048 -- For non-payment of sewer or water rental charges or fees.

3.049 -- For violation of any rules of the Authority concerning water service.

3.05 -- The customer shall not turn the water on or off at any corporation stop or curb stop without the prior approval of the Authority.

3.06 -- All persons are strictly forbidden to open any fire hydrant or to use any water therefrom for sprinkling streets, filling pools, or any other purpose without prior permission in writing by the Authority, except in the case of fire and by fire companies to test the hydrants.

3.07 -- The Authority may require a user of water service to provide information needed to determine compliance with these Rates, Rules, and Regulations including, but not limited to rates of water consumption, number and types of facilities in use, and other materials important to protect public health and safety.

SECTION IV - EXTENSIONS BY DEVELOPER

4.01-- The Authority shall have no liability to furnish complete water service at Authority expense to any contemplated new housing development, nor to any isolated property or properties outside the existing service area.

4.02 -- In those cases where a developer or individual desires water service to be furnished to their property, the property owner may elect to furnish such service at their own expense.

4.03 -- A completed application, including plans, details, specifications of proposed construction and appropriate filing fee made payable to the Authority, must then be submitted.

4.04 -- The Authority’s Engineer will review this submission, identify any comments, deficiencies, or concerns and submit them to the Authority for consideration.  If necessary, the Authority will return the submission to the developer for revision.  Revised submissions should be returned to the Authority with annotations clearly identified and dated.

4.05 -- Upon approval by the Authority, the developer must enter into an extension agreement with the Authority providing for:

4.051 -- Review of plans and specifications by Authority Engineer.

4.052 -- Approval by State and local agencies.

4.053 -- Installation in compliance with Authority’s specifications and inspection during construction by Authority.

4.054 -- Escrow deposit by developer to cover costs of (4.051), (4.052) and (4.053) above, plus legal fees and cost of construction if construction is by contractor engaged by Authority; or ten percent (10%) of estimated construction costs if constructed by developer’s contractor or own forces subject to approval by the Authority.

4.055 -- Refund to developer of any unexpended monies after acceptance of extensions or, additional escrow deposit to cover any actual costs incurred over and above initial deposit.

4.056 -- Transfer of title of public water extensions to Authority for operation and maintenance.

4.057 -- Other provisions as may be appropriate to protect the Authority’s interests and as set forth in the “Developer’s Handbook”.

SECTION V - ACCESS TO PREMISES

5.01 --  The Authority by its duly authorized agents shall have the right of access at all reasonable hours to all parts of any premises connected with the water system for the purpose of examining and inspecting the connections and fixtures, or for disconnecting service or for any proper cause.

SECTION VI - SPECIAL CONDITIONS

6.01 --  Any person who desires an exception to be made, an interpretation to be given, or action to be permitted not specifically governed by these Rules and Regulations shall present their case in writing to the Authority. In such an event, the decision of the Authority is final.

6.011 – Statement of Policy, Requests for Water/Sewer Fee Adjustment, See Appendix B.

6.012 --	Application Request for Water/Sewer Fee Adjustment, See Appendix C.

6.02—Requests to bill as “water only”, water that is not processed through the Treatment Plant, will not be approved.  Examples:  Car washing, garden and flower bed watering and house and pavement washing.  This includes out side faucet leaks.

6.03---Requests to bill as “water only” water used to fill personal pools must be submitted to the LMA in writing at least 30 days prior to filling.  The application (see Appendix D) will be included in the next month’s agenda for discussion and disposition.  No filling may take place prior to LMA approval of the application.

6.031 – The application must include the property owner’s name, address, phone number and gallonage being requested to fill the pool.

6.032 – A non-refundable application fee of $100.00, as well as, a $25 Operator fee must be included with the application at time of filing.

6.033 – Coordination to fill the pool must be made with the LMA Operator who will install a meter on the line prior to filling to validate gallons required.

SECTION VII – TEMPORARY WATER SHUT-OFF

7.01-- Customers desiring water to be shut of during vacancies or absences must give notice to the Authority requesting the water to be shut off.  Water and Sewer service will continue to be billed according to the Rate Schedule.  A fee of $10.00 will be assessed to re-establish water service.

SECTION VIII - CHANGING RULES AND VARIANCES

8.01 -- The Authority reserves the right to change or amend these Rules and Regulations in accordance with law.  No officer, or employee of the Authority can vary these Rules and Regulations without action of the Authority Board, and the Authority may not be bound by an agent of employee’s act or representation excepting when authorization in writing has been given to do so by an executive officer of the Authority Board.

SECTION IX - MATERIALS AND METHODS OF INSTALLATION

9.01—See instructions in the “Materials and Methods of Installation” handbook.

9.04 -- Street, curb, sidewalk and driveway surfaces must be protected from damage by excavating equipment at all times by the use of rubber pads or wood planks. Any damage to the street or curbing will be the applicant’s responsibility to repair.

SECTION X –SPRINKLER SYSTEMS

10.01—Water pressure required to activate a sprinkler system that exceeds the Municipal water system pressure will be the building owner’s responsibility to install the necessary pressure pump to activate their sprinkler system, at their expense.

10.02—A separate water line from the Municipal water system or a split line from the line servicing the structure, may be used.  A sprinkler system supply line must have a backflow prevention valve.

10.03—Routine inspection of a sprinkler system is the responsibility of the building owner.  The Municipal Authority is not responsible for sprinkler system inspections.

10.04—Water shut off due to non-payment of a bill, will be made after the split line.  A shut off for this purpose is required as part of the initial plumbing.  Lack of water due to a main break, will not result in a liability to the Municipal Authority.

10.05—Water used through a sprinkler system due to a fire, will not be billed to the property owner; in this case billing will be calculated utilizing the average of the previous three quarters.

10.06—A customer requesting the Authority to provide service for a sprinkler system to be installed on property owned by the customer, must enter in a “Release, Indemnification and Hold Harmless Agreement” with the Authority.  See Appendix E.

SECTION XI - RATES AND CHARGES

11.01-- Water rentals and charges are imposed as indicated on the attached schedule and may be changed as determined by the Authority

11.01 (A) – Water system usage for connections made during a billing quarter will combined with the next billing quarter usage.

11.02 – Other water charges.  A water connection fee and tapping fee are hereby established, payable at the time of application for permission to connect with the water system.  This connection fee and tapping fee are the same fees referred to in Section 2.02 of these Rules.

11.03--Bills for the sewer rentals shall be mailed by the LIVERPOOL MUNICIPAL AUTHORITY to the property owners at least thirty (30) days before the beginning of the penalty period. Said water rentals are payable at par, each January 15, April 15, July 15, and October 15 of each year and are subject to a 5% penalty if not paid on or before February 15, May 15, August 15 and November 15 of each quarter. These rates are for three months, the payment due February 15 for the three months ending December 31, the payment due May 15 being for the three months ending March 31, the payment due August 15 being for the three months ending June 30, and the payment due November 15 being for the three months ending September 30.  If not paid by the quarterly billings of January 15, April 15, July 15, and October 15 a new penalty of 5% of the unpaid balance shall be added each January 16, April 16, July 16 and October 16 that the bill remains unpaid until paid in full.  A $25.00 service charge will be added for each second and subsequent late payment.  The water rentals herein provided shall be collected and enforced in a manner provided by law for the assessment and collection of charges and the enforcement of municipal liens under the laws of the Commonwealth of Pennsylvania in such cases made and provided.

11.03(a)—A non-negotiable personal check received as payment for sewer or water charges, shall be returned to the customer with instructions to redeem the check within ten days.  Shut-off procedure shall be started simultaneous with sending the above notification.

11.04 -- If any person, partnership or corporation shall connect a drain or pipe with any LIVERPOOL MUNICIPAL AUTHORITY water without having first received a permit and paid the tapping fee and connection charge, if any, or if any owner or occupier of premises in said district who has obtained a permit and made connection with the LIVERPOOL MUNICIPAL AUTHORITY water system shall permit any person, partnership or corporation to make an attachment to or connect with his, her or its property service leading into the LIVERPOOL MUNICIPAL AUTHORITY water system so as to serve any other property than for which a permit was granted; such person, partnership or corporation shall pay the amount of the water rental due from the date the public water became available for connection at the rate set forth in 2.02 and shall be liable to pay in addition thereto the tapping fee as set forth in 2.02, and a penalty charge of $500.00 for failure to abide by these Rates, Rules and Regulations.

11.05 Rates:

Water/Sewer Service Charges and rates per 1000 gallon of usage are established under separate Resolution dated May 14, 2020 and attached as Appendix F.

Sewer Users Only (no metered water)			$164.00

SECTION XII - VIOLATIONS OF USE (REQUIREMENTS)

12.01-- No person(s) shall maliciously, willfully or negligently break damage, destroy, uncover, deface or tamper with any pipeline, structure, appurtenance or equipment of the Authority. Any person(s) violating this provision shall be subject to immediate arrest under charge of disorderly conduct.

12.02 -- The Authority reserves the right to restrict the use of water service whenever the public welfare may require it.

Resolution establishing rates to be paid for water and sewer services was resolved and adopted on May 14, 2020 and became effective on October 1, 2020.

EXECUTION

The preceding Rates, Rules & Regulations are intended to replace the previously established Rates, Rules and Regulations of the Liverpool Municipal Authority dated 8/11/2011.

Restated in full by resolution of the Board of the LIVERPOOL MUNICIPAL AUTHORITY at a Meeting of said Board and duly and legally held on May 12, 2022.

President: ___________________________________________________________

Secretary: ____________________________________________________________

NOTE:  File Copy is signed.